- Open Meeting— Canaan Selectboard Chairman Michael Daley opened the meeting at 5:00 P.M.  Those present included Alfred Buckley, Dillon Begin, and Michael Daley (Canaan Selectboard), Allen Coats, and Jimmy Gilbert, (Stewartstown Selectboard), and Zachary Brown.  With the absence of Dwayne Covill, Mike Daley ran the meeting.

- Approve Minutes for April 8, 2025- Minutes were distributed to all commission members prior to and at the meeting.  All reviewed the minutes.  Mike made a motion to approve the April 8, 2025, meeting minutes as presented; Allen seconded this motion.  Interim Chairman Daley opened the motion for discussion; seeing none, he called for a vote.  The motion passed unanimously in the affirmative.

- Additions or Deletions to the Agenda— No additions or deletions were made.

- Operator Report – Zach filled in for April as she has been dealing with a major water leak in Fire District 2 for two days.  Zach reported that everything was going well at the plant.  He did report that there was an issue with the effluent meter at the plant and that had to be replaced.  He noted that it is required by the state and is quite pricy, so there is not one on hand.  He reported that all of the preventative maintenance had been completed for the plant, and both town’s pump stations.

- Report on Inspection– No inspection occurred as the paving of Treatment Plant Road was being conducted.  April was also not present.  Zach told the board that they could plan on doing it another day or wait until the next quarter.  Jimmy and Mike would discuss a possible time to reschedule it.  A short discussion was had on making the inspections random instead of scheduled.  No action was taken.

- Paving of Treatment Plant Road – Zach told the commission that the road has been paved.  The project came right around the bid price.  Zach told the commission that he would be billing Stewartstown for their $1,000 contribution soon.

- Executive Session –

  - Personnel Issue – 1 V.S.A. § 313 (A) – Al made a motion to enter into an executive session under 1 V.S.A. § 313 (A) to discuss ongoing personnel issues.  Jimmy seconded the motion. Interim Chairman Daley called for any further discussion, seeing none, he called for a motion.  The motion passed unanimously in the affirmative.  The commission entered into an executive session at 5:09 P.M.  Jimmy made a motion to exit the executive session at 5:38 P.M. Dillon seconded the motion. Interim Chairman Daley called for any further discussion, seeing none, he called for a motion.  The motion passed unanimously in the affirmative.  The commission entered into an executive session at 5:38 P.M.

- Adjourn Meeting – Allen motioned to adjourn the July 8, 2025, meeting; Al seconded this motion.  No discussion was had.  Interim Chairman Daley called for any further discussion, seeing none, he called for a motion.  The motion passed unanimously in the affirmative.  Interim Chairman Daley adjourned the meeting at 5:39 P.M.